## Slide 1: Operations & Maintenance
The Next Paradigm
Maple & Associates

## Slide 2: Background - Water Industry
Basic Elements
Customer lead information
Repairs relatively low cost
High cost of compliance
High cost of traffic and pedestrian management
Late information leads to higher damage levels and re-instatement costs
No consideration for impact on other public use – roads, rail, bus disruptions
Maple & Associates

## Slide 3: Current Practice
Long Term Process
Operational costs are based around at least 20 year old practices
Primarily reactive in nature
Potential high risk to both operational staff and public
No consideration for the change in demographics
Government Regulations drive the current behaviour
Maple & Associates

## Slide 4: Operations and Maintenance The current practice
Water Utility maintains workforce to support process
Customer advises of problem
Water Utility sends repair crew 24/7
Problem repaired
Immediate area cleaned up
Regulator monitors performance parameters and reports to Government
Road/Area Reinstated immediate area cleaned up
Customer instigates the process
Maple & Associates

## Slide 5: Operational technology
System Development
Systems and process that enable early warning systems
Proper work force management is enabled to focus activity outside critical times
Planned maintenance activity to become fully integrated
Major improvements in environmental issues
Major planning processes with commercial businesses
Better supply management with Schools, hospitals, child care centres
Greatly improve the water utility image
Maple & Associates

## Slide 6: Role of technology
Backbone of next paradigm
Effective SCADA system
Highly developed instrumentation of the water, sewer, recycled water networks
Major new low cost communication wireless devices that link the SCADA system
Major improvement of system analysis tools to read, interpret information and create early network warning systems
Continuing development of on line direct measuring devices
Maple & Associates

## Slide 7: Water, sewer, recycled water, storm water Networks
Applying the Concepts
Deployment of extensive range of instrumentation devices
Include, pressure, temperature, flows, cctv, chlorine levels other water quality information
Deployment of extensive range of communication devices
Intelligent systems to interpret activity in the networks
Commencement of a on line critical control centre with full visibility screens
Review regulator requirements and measures
Maple & Associates

## Slide 8: The Future of Operations and Maintenance within the Water Industry
Water Utility develops improved techniques to further reduce the reactive element of its operation
Customer advised of repair
Water Utility monitors network extensively
Water Utility identifies/ investigates potential problems
Plans maintenance activity to repair replace all at the one time to minimise impact
Regulator has to change monitoring process to being proactive supporting further instrumentation
Undertakes full maintenance activity repair and reinstate at one time
Water utility costs fall and customer bill is reduced
Customer knows about problem after it is repaired
Maple & Associates

## Slide 9: Summary and conclusions
Greatly improve positive interaction with customers
Reduce the impact of consequential damage from breaks in sewer and water networks
Reduce the environmental impact from these activities
Greatly reduce the impact of travelling public
Better performance data on the networks
Improve the safety of maintenance activity
Reduce the cost of operation to customers
Truly manage the networks
Maple & Associates

## Slide 10: The next elements
Asset Management
Water Quality
Broader Industry Application
Major Industry Operational Sites
Campuses
Council Networks
Hospital Networks
Concepts
Managed, Monitored and Controlled Networks
Maple & Associates